## Calibration Environment
Attempt ID | Cosmobot ID | Sweep Name | Epic | Cosmobot Version | YSI Used | Last YSI Calibration | Calibration Environment Version | Pi Used | Cartridge | Gas Used | Start Date/Time | End Date/Time | Drive Directory | Setpoint File | Calibration CSV | Picolog Data | process_experiment results | S3 Bucket(s) | `calibration-environment` Git Hash | Link to Readme | Issues in data | Notes on what happened
1 | A | Collect 3000 images (attempt 1) | Collect 10K Images | Anglerfish 2.0.1 |  |  | 2.1.5 |  | C00003 | NI HP300 and X02NI78P3000003 | 2019-07-26 19:12 | 2019-07-28 13:55 | 2019-07-26 Collect 3000 images (attempt 1) | https://drive.google.com/open?id=1UaR6oO6uLvBKiMDhXUxEWT8pWniiLPuM | https://drive.google.com/open?id=14IxV8fQoZv4jSaCT1B4x4FUtClptrn9r | https://drive.google.com/open?id=1-sFmb11TkfnkPZtaeKHbvu_82pJjjNWO | https://drive.google.com/open?id=1JwSzXRdJwxIQpjSwi-iSssHOhj5VT3N4 | 2019-07-26--19-34-38-Pi2E32-3000_images_attempt_1 | 6f549a69e5514631beae14d67e5cc1815f604f0e | https://docs.google.com/open?id=1JdPSPQbOnZcuGtAiiJ1q6SUpelg9InYDLXO0eq5xhI0&authuser=jacob@osmobot.com&usp=drive_fs | YSI miscalibrated, camera out of focus | Camera was blurry. Did not have intelligent equilibration software, did not reach all DO equilibration points.

## Scum tank
Attempt ID | Cosmobot ID | Sweep Name | Epic | Cosmobot Version | Pi | Last YSI Calibration | Scum Tank | Scum tank description/changes | Summary of experimental design | Cartridge | Start Date/Time | End Date/Time | Drive Directory | YSI Data | S3 Bucket(s) | Link to Readme | Issues in data | Notes on what happened
1 | B | Scum tank shakedown | 3k images from scum tank | Anglerfish 2.0.1 |  |  | Scum Tank 1 | Fresh water tank with: YSI & Cosmobot mount 150W aquarium heater 2x air bubblers 2x internal aquarium mixing pumps | 2 "passive sweeps", collecting a total of 3000 good images across both sweeps. A sweep will be 6 hours of bubblers on + 18 hours of bubblers off, with the heater on at ~25°C at all times. | C00005 | 2019-08-26 23:35 | 2019-08-27 08:15 | 2019-08-26 Scum Tank Shakedown | https://drive.google.com/open?id=1Cmlvo4EYmL8L1Wa4SaW2nizBU6X28iO4 | 2019-08-26--23-34-10-PiE5FB-scum_tank_shakedown | https://docs.google.com/document/d/1zAXWKzgdODp0jxvUjwqmQW2EQe_sr663pMrTgyhW5cM/edit#heading=h.ptro2v1wz5tp | YSI miscalibrated, flatlined | No external camera yet.